[image: image1.jpg]Office of the Director, Animal Husbandry, U.P.,

/

BADSHAH BAGH, LCUKNOW.

Approved Rate List of "Veterinary Equipments/ Machineries/Instruments & Glassware etc. for A.IL, Surgical, Pathological, Laboratory &
Hospital use" "(against Short Term Tender) for the financial year 2011-12

Sl Name of Item Specification Unit Pack | Rate (Rs.) Name and Place of the firm
No. ' :
f;
‘v
; ¢
1 Apron Cotton Free size . Each 19.50 | 1. M/s United Surgital, Lucknow.
2. M/s Indira Fabricators, Lucknow
2 Air Cleaner Air Dust Cleaner should have continuous rolling motor Each 30500.00 | 1. M/s Cecon Pollutech Systeris;
fitted with tubular impellers and double dust collection (P) Ltd., Lucknow.
unit each comprising of 35 aluminum dust collection " 2. M/s Cecon International,
plates and fitted with two tubular impellers and pre and o .
first filter media operative 220 volts, single phase [ e )
portable fitted on duster feed for easy movement and
safety device capacity 1200 cfm, room size 12'x10'x10'
fitted with motor 1/10 HP (As per latest IS, if any).
(including installation, demonstration & fittings)
3 Aiutomatlc Thawing  unit | 37°C Each 490.00 | M/s United Surgical, Lucknow.
electric
4 Bone Pin Cutter Standard Each 150.00 | M/s United Surgical, Lucknow.
S Empty French Mini Straws Empty French Mini A.L straws having capacity 0.25ml with pack of 818.00 | 1. M/s Balkrishna Plasikrafts,
i factory plug at one end and ot_her end open , straw vshould be 1000pcs Delhi.
made of non-toxic PVC material and should be sterilized The " N
straws should be able to use with imported sealing and filling 2. M/s Sakshi Enterprises,
machine. The straw should not crack during freezing and Lucknow.
thawing. Colour of straw should not fade during freezing;
straws should be in different colours.
6 Haemocytometer (Neubauer) Complete set, Double ruling,0.1 mm depth. Each 300.00 | M/s United Surgical, Lucknow.
7 Laryngoscopes Full stainless body with blade and hoot attached, blade, Each 890.00 | 1. M/s Sakshi Enterprises,
100mm length, 130mm length and 155 mm length of Lucknow.
fiber-lite attached, cool high power light, fibre-lite lamp 2. M/s United Surgical, Lucknow.
key, fibre lite lamp.
8 Plastic Syringes Boilable 5ml Each 1.42 | M/s Rohit Enterprises, Ghaziabad/
New Delhi
Boilable 20 ml Each 3.80 | M/s United Surgical, Lucknow.
9 Suture Thread Silk 10 mt. Reel Each reel 1.71 | M/s Rohit Enterprises, Ghaziabad/
New Delhi
10 Vaccutainer Needle Double Bewell 16N0./22N0. Pack of 100 358.00 | M/s United Surgical, Lucknow.
11 Watch glass 5 cmdia Each 4.00 | M/s Rohit Enterprises, Ghaziabad/
New Delhi
10 cm dia Each 7.00 | M/s Rohit Enterprises, Ghaziabad/
New Delhi

R

\





[image: image2.jpg]12

X-Ray Unit alongwith Mobile 100mA (100KV) Trolley based foot lock, single phase Each | 143000.00 | M/s Allengers Medical Systems

Dressine Room items* complete in all respect alongwith Dressjng Room itcrns (e.g. Ltd.. Chandicarh.
g processing Tanks-4 (9 ltr capacity), Safe lights-2, ’ &

working table-1, lead chest-1, lead appron-2, gloves-2
pair, plate developer, gutters, adhesive tape, developer
and fixture )

[*Includmg installation, commissioning, demonstration and manufacturer's standard warranty plus 2 years AMC free of cost including hardware change and software up-gradation (for

'sl.no. 12) above)].

TRF o W defomt Wt PEEEER sfifed 3 3

. IWFd T Wl dudr feAie-31.03.2012 % W g

~—
—ad

IRFT ¢ THOSMONR0 AR § a1d: T WO § TH.IMNAXNH qiaan e &en e 21

y
2
3. EATTHAER A% FE wH Us WhHE H AT w7 A U Y HIA SR .
4.
5.

W%aﬁrﬁwmﬁmﬁvﬁmﬁzﬁ%ﬁfwwﬁﬁﬁmﬁﬁ%aw%ﬂq%”rﬁ@ﬁwﬁmﬁ%

wHrafad ﬁ%mw];mm faumT 3 o9 eS|

e

( F=-3gv)
@%mm

A

TH g L /BOR0R0/STHT/ R F-2)/2011-12 feim- 202 -2a|(

~N o b wN

10
L
12

SOFE ST/ G/ AEiE ik Wt orifke w gt fmfafad w gEe w@ omavas wret g v
e g Ty fafean efuerd, Sowol
e 3 PR, TREem v avsa, sowo!
e Ry, 9 WA yeH, [tg, S
wRofRo/wdFa s, aifdfedia oid Samee &, WG, TSR/ e, SR/ SRS RE- aEs/ Aa- |
I FRY, 989, WEMTR, dEIS/AHE 8§ UEUE IS USEE Ud HiW 98, 090
30 ek, @Y U], TYOEE {9, 0%, @
watug wE W o STR/ATS/amiE o it st sgHied W T R
T FEid ST AYER, Jered
TgFa fres, W FrE(gee)
T ferh BFge, qeedl
o ek, TivA faem, gere @ et fraves, odio dRum, uymwed faumr, W0, d@IS! M\‘
fom s gemeE! R
( &= wam)

Ry
I,V,





[image: image3.jpg]- NAME AND ADDRESS OF THE FIRMS WHOSE RATES FOR EQUIPMENTS/INSTRUMENTS/MACHINERIES ETC.

ARE APPROVED FOR THE FINANCIAL YEAR 2011-12 (AGAINST SHORT TERM TENDER 2011-12)

S1.No. Name and Address of the firm
1 M/s Allengers Medical Systems Ltd., S.C.0. 212, 213, 214, Sector 34A, Chandigarh-160022 Fax No. 0172-2621912, Ph, 0172-3012280
2 M/s Balkrishna Plasikrafts, F-4, DSIDC Industrial Complex, Rohtak Road, Nangoli, Delhi-110 041 Fax No. 011-25475191, Ph.No.011-25472673
3 M/s Cecon International, 1st Floor, Laxmi Bhawan (Near Indira Bridge), Nishatganj, Lucknow-226006 Fax 0522-2329891, Ph. 0522-3252140
4 M/s Cecon Pollutech Systems (P) Ltd., 5-Kamta, Near Surender Nagar Gate, Faizabad Road, Lucknow-227105 Fax 0522-2329891. Ph.0522-3190202 B
5 M/s Rohit Enterprises, 29/2, Roop Nagar, Industrial Area Loni, Ghaziabad (Office: 18A/12, Doriwalan, Karol Bagh, New Delhi. Fax 011-43082224,
Ph. No. 011-23622400
6 M/s Sakshi Enterprises, Chamber No. 22, 2nd Floor, Moma Wazir Chamber, 34-Lalbagh, Lucknow-1. Ph. No. 0522-4109202 )
7 M/s United Surglcal F 1854, Rajajipuram, Lucknow. Fax No. 0522-4040035, Ph. 0522-2261438 ST

..\
it




